## SHEET-1
[ 1 ]
MADHYA GUJARAT VIJ COMPANY LIMITED
I - KEY PARAMETERS
POWER SUPPLY POSITION
|  |  | Current Year |  | Previous Year |  | % Change
|  |  | Quarterly | Cummulative | Quarterly | Cummulative | Quarterly | Cummulative
|  |  | July-2022 to Sept-2022 |  | July-2021 to Sept-2021
I | POWER PURCHASE
1 | Purchase From CPPS/Wind Farms/Solar | MUS | 3607.95 | 7710 | 3441.35 | 6749.02 | 4.841% | 14.24%
2 | Purchase from GUVNL [Net of Trading Credit & UI] | MUS
3 | Purchase from Central Sector | MUS
| [a] Share | MUS
| [b] Actual Purchase | MUS
| Total Purchase of Power | MUS | 3607.95 | 7710 | 3441.35 | 6749.02 | 4.841% | 14.24%
II | ENERGY BALANCE SHEET
1 | Total Generation + Purchase of Power | MUS | 3607.95 | 7710 | 3441.35 | 6749.02 | 4.841% | 14.24%
2 | Units Sent Out | MUS | 3607.95 | 7710 | 3441.35 | 6749.02 | 4.841% | 14.24%
3 | Metered + Estimated Unmetered & Unbilled Sales | MUS | 3175.26 | 6589 | 3004.108 | 5859.368 | 5.697% | 12.45%
4 | T&D Losses [2-3] | MUS | 432.69 | 1121 | 437.242 | 889.652 | -1.041% | 26%
5 | T & D Loss [4] / [2] * 100 | % | 11.99% | 14.54% | 12.71% | 13.18% | -0.7129% | 1.358%
III | SALES, BILLING AND REALISATION
1 | Billed [Metered + Unmetered] with E. D. | Rs. In Crores | 2223.62 | 4409.76 | 2078 | 4014.57 | 7.008% | 9.844%
2 | Billed - Theft Assessment
3 | Total Billed [1 + 2] | Rs. In Crores | 2223.62 | 4409.76 | 2078 | 4014.57 | 7.008% | 9.844%
4 | Amount realised [Metered + Unmetered] with E. D. | Rs. In Crores | 2154.9101 | 4264.2379 | 2068.8568 | 3851.5785 | 4.159% | 10.71%
5 | Amount realised against Theft of Energy
6 | Total Amount realised [4 + 5] | Rs. In Crores | 2154.9101 | 4264.2379 | 2068.8568 | 3851.5785 | 4.159% | 10.71%
7 | Amount realised as % of amount billed [6] / [3] | % | 96.91% | 96.7% | 99.56% | 95.94% | -2.65% | 0.76%

## SHEET-2
[ 2 ]
MADHYA GUJARAT VIJ COMPANY LIMITED
II - KEY PARAMETERS
COST OF SUPPLY - 2
|  |  | Current Year |  | Previous Year |  | % Change
|  |  | Quarterly | Cummulative | Quarterly | Cummulative | Quarterly | Cummulative
|  |  | July-2022 to Sept-2022 |  | July-2021 to Sept-2021
I | COST OF SUPPLY
1 | Average Cost of Purchase of Power [Net] | Rs. /KWH | 6.26 | 5.57 | 4.93 | 4.81 | 26.98% | 15.8%
2 | Cost at Bus Bar | Rs. /KWH
3 | Costo of Supply at EHT [at 66 KV] | Rs. /KWH
4 | Cost of Supply at LT [at 11 KV] | Rs. /KWH
5 | Cost of Supply at HT [at 11 KV] | Rs. /KWH
6 | Average Cost of Supply per unit of sales | Rs. /KWH | 8.02 | 7.37 | 6.53 | 6.4 | 22.82% | 15.16%
II | SALES REALISATION WITHOUT E. D.
1 | H. T. | Rs. /KWH | 9.03 | 7.83 | 6.09 | 6.48 | 48.28% | 20.83%
2 | L. T. | Rs. /KWH | 5.43 | 5.87 | 5.91 | 5.79 | -8.122% | 1.382%
3 | Average Sales Realisation | Rs. /KWH | 7 | 6.69 | 6 | 6.08 | 16.67% | 10.03%
Special Observation on above points

## SHEET-3
[ 3 ]
MADHYA GUJARAT VIJ COMPANY LIMITED
I - KEY PARAMETERS
FINANCIAL DATA - 3
|  |  | Current Year [Provisional] |  | Previous Year |  | % Change
|  |  | Quarterly | Cummulative | Quarterly | Cummulative | Quarterly | Cummulative
|  |  | July-2022 to Sept-2022 |  | July-2021 to Sept-2021
1 | Cost of Power Purchase [Net] | Rs. In Crore | 2257.05 | 4292.05 | 1696.87 | 3243.51 | 33.01% | 32.33%
2 | Employees Cost | Rs. In Crore | 150.06 | 291.8 | 140.02 | 263.1 | 7.17% | 10.91%
3 | Interest | Rs. In Crore | 12.14 | 24.28 | 13.62 | 27.25 | -10.87% | -10.9%
4 | Repairs and Maintenance | Rs. In Crore | 20.69 | 40.86 | 20.32 | 40.64 | 1.821% | 0.5413%
5 | Depreciation | Rs. In Crore | 69.88 | 134.76 | 71.37 | 142.73 | -2.088% | -5.584%
6 | Admin. And General Expenditure | Rs. In Crore | 24.23 | 46.94 | 22.48 | 42.19 | 7.785% | 11.26%
6a | Expenses Capitalized | Rs. In Crore | 0 | 0 | -10.11 | -20.11 | -100% | -100%
7 | Other Debits & Prior Period Adjustment | Rs. In Crore | 13.15 | 26.3 | 8.14 | 12.28 | 61.55% | 114.2%
8 | Total Cost Excluding Profit / Return | Rs. In Crore | 2547.2 | 4856.99 | 1962.71 | 3751.59 | 29.78% | 29.46%
Income:
9 | Other Income | Rs. In Crore | 75.27 | 143.91 | 42.917 | 73.13 | 75.39% | 96.79%
10 | Sales Amount [Without E. D.] [Incl. T.C/FCA] | Rs. In Crore | 2263.22 | 4472.97 | 1843.02 | 3562.71 | 22.8% | 25.55%
11 | Agricultural Subsidy Received | Rs. In Crore | 17.2 | 34.39 | 19.21 | 42.42 | -10.46% | -18.93%
12 | Misc. Revenue Related Recovery | Rs. In Crore | 26.89 | 53.68 | 52.74 | 105.49 | -49.01% | -49.11%
13 | Total Income(9+10+11+12) | Rs. In Crore | 2382.58 | 4704.95 | 1957.887 | 3783.75 | 21.69% | 24.35%
14 | Cost of Power Purchase as % of Total Cost [1]/[8] | % | 88.61% | 88.37% | 86.46% | 86.46% | 2.154% | 1.912%
15 | Capital Expenditure | Rs. In Crore | -41.55 | -11.34 | 33.7149 | 63.9249 | -223.2% | -117.7%
16 | New Long Term Borrowings | Rs. In Crore | 0 | 0 | 0 | 0 | 0% | 0%
17 | C.C.drawl at the end of the Quarter | Rs. In Crore | 0 | 0 | 0.02 | 0.04 | 0% | 0%
|  |  | 4.52 | 30066980.798 | 5786401.75 | 9381444.38 | 87524122.38
|  |  |  | 3.0067 | 0.57864 | 0.93814 | 8.7524
0.64
0.64

## SHEET-4
[ 4]
MADHYA GUJARAT VIJ COMPANY LIMITED
III - SALES AND REVENUE DATA
NOS. OF CONSUMERS AND UNIT SOLD
|  |  | Current Year |  | Previous Year |  | % Change
|  |  | Quarterly | Cummulative | Quarterly | Cummulative | Quarterly | Cummulative
[A] | NOS. OF CONSUMERS [WITHOUT PDC] |  | July-2022 to Sept-2022 |  | July-2021 to Sept-2021
1 | H. T. | Nos. | 2760 | 2760 | 2582 | 2582 | 6.894% | 6.894%
2 | Railways | Nos. | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
3 | Liecence | Nos. | 0 | 0 | 0 | 0 | 0% | 0%
4 | Total H.T. + E.H.T. | Nos. | 2760 | 2760 | 2582 | 2582 | 6.894% | 6.894%
5 | Residential | Nos. | 2820031 | 2820031 | 2777091 | 2777091 | 1.546% | 1.546%
6 | Commercial | Nos. | 396797 | 396797 | 384990 | 384990 | 3.067% | 3.067%
7 | Industrial | Nos.
8 | Others [Water Works / Public Lighting] | Nos. | 26744 | 26744 | 25662 | 25662 | 4.216% | 4.216%
9 | Total L.T. Excluding Agricultural | Nos. | 3243572 | 3243572 | 3187743 | 3187743 | 1.751% | 1.751%
10 | Agricultural | Nos. | 205178 | 205178 | 196435 | 196435 | 4.451% | 4.451%
11 | Total L. T. Including Agricultural | Nos. | 3448750 | 3448750 | 3384178 | 3384178 | 1.908% | 1.908%
12 | Total H.T. + E.H.T. + L. T. [WITHOUT P.D.C.] | Nos. | 3451510 | 3451510 | 3386760 | 3386760 | 1.912% | 1.912%
[B] | NOS. OF UNITS SOLD
1 | H. T. | M.KWH | 1385.644 | 2755.808 | 1482.052 | 2469.074 | -6.505% | 11.61%
2 | Railways | M.KWH | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
3 | Liecence | M.KWH | 0 | 0 | 0 | 0 | 0% | 0%
4 | Total H.T. + E.H.T. | M.KWH | 1385.644 | 2755.808 | 1482.052 | 2469.074 | -6.505% | 11.61%
5 | Residential | M.KWH | 831.399 | 1796.008 | 827.128 | 1720.362 | 0.5164% | 4.397%
6 | Commercial | M.KWH | 497.109 | 1078.533 | 479.701 | 952.796 | 3.629% | 13.2%
7 | Industrial | M.KWH
8 | Others [Water Works / Public Lighting] | M.KWH | 96.031 | 200.262 | 84.192 | 190.059 | 14.06% | 5.368%
9 | Total L.T. Excluding Agricultural | M.KWH | 1424.539 | 3074.803 | 1391.021 | 2863.217 | 2.41% | 7.39%
10 | Agricultural [Metered + Unmetered] | M.KWH | 365.233 | 758.845 | 201.04 | 527.077 | 81.67% | 43.97%
11 | Total L. T. Including Agricultural | M.KWH | 1789.772 | 3833.648 | 1592.061 | 3390.294 | 12.42% | 13.08%
12 | Total H.T. + E.H.T. + L. T. | M.KWH | 3175.416 | 6589.456 | 3074.113 | 5859.368 | 3.295% | 12.46%
|  |  | 1639.71 | 5096.36
|  |  | 335.74 | 335.74 | 1535.706
|  |  | 346.72 | 346.72 | 1493.096
|  |  | 682.46 | 682.46
|  |  | Q1 2014 | Q1 2013
|  | Metered | 153.2 | 171.66 | -10.75%
|  | Unmetered | 136.37 | 136.62 | -0.183%
|  |  | 289.57 | 308.28 | -6.069%

## SHEET-5
[ 5 ]
MADHYA GUJARAT VIJ COMPANY LIMITED
III - SALES AND REVENUE DATA
SALES REVENUE AMOUNT AND PAISE / UNIT
|  |  | Current Year |  | Previous Years |  | % Change
|  |  | Quarterly | Cummulative | Quarterly | Cummulative | Quarterly | Cummulative
[C] | SALES REVENUE BILLED : |  | July-2022 to Sept-2022 |  | July-2021 to Sept-2021
1 | H. T. | Rs. In Crore | 1251.22 | 2158.63 | 902.33 | 1600.37 | 38.67% | 34.88%
2 | Railway | Rs. In Crore | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
3 | Liecence | Rs. In Crore | 0 | 0 | 0 | 0 | 0% | 0%
4 | Total H.T. + E.H.T. | Rs. In Crore | 1251.22 | 2158.63 | 902.33 | 1600.37 | 38.67% | 34.88%
5 | Residential | Rs. In Crore | 417.99 | 1021.9 | 460.73 | 959.77 | -9.277% | 6.473%
6 | Commercial | Rs. In Crore | 397.73 | 866.35 | 347.88 | 706.9 | 14.33% | 22.56%
7 | Industrial | Rs. In Crore
8 | Others [Water Works / Public Lighting] | Rs. In Crore | 74.11 | 141.92 | 57.12 | 122.67 | 29.74% | 15.69%
9 | Total L.T. Excluding Agricultural | Rs. In Crore | 889.83 | 2030.17 | 865.73 | 1789.34 | 2.784% | 13.46%
10 | Agricultural [Including Tariff Comp.]/[FPPPA] | Rs. In Crore | 82.57 | 220.96 | 74.96 | 173 | 10.15% | 27.72%
11 | Total L. T. Including Agricultural | Rs. In Crore | 972.4 | 2251.13 | 940.69 | 1962.34 | 3.371% | 14.72%
12 | Total H.T. + E.H.T. + L. T. | Rs. In Crore | 2223.62 | 4409.76 | 1843.02 | 3562.71 | 20.65% | 23.78%
[D] | SALES REALISATION |  | 0 | 0
1 | H. T. | Paise / kwh | 902.9881 | 783.302 | 608.8383 | 648.1661 | 48.31% | 20.85% | 902.9881 | 783.302 | 608.8383 | 648.1661
2 | Railway | Paise / kwh | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
3 | Liecence | Paise / kwh | 0 | 0 | 0 | 0 | 0% | 0% | #DIV/0! | #DIV/0! | #DIV/0!
4 | Total H.T. + E.H.T. | Paise / kwh | 902.9881 | 783.302 | 608.8383 | 648.1661 | 48.31% | 20.85% | 902.9881 | 783.302 | 608.8383
5 | Residential | Paise / kwh | 502.755 | 568.9841 | 557.0238 | 557.8884 | -9.743% | 1.989% | 502.755 | 568.9841 | 557.0238
6 | Commercial | Paise / kwh | 800.0861 | 803.267 | 725.2017 | 741.9217 | 10.33% | 8.268% | 800.0861 | 803.267 | 725.2017
7 | Industrial | Paise / kwh | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0!
8 | Others [Water Works / Public Lighting] | Paise / kwh | 771.73 | 708.6716 | 678.4493 | 645.4312 | 13.75% | 9.798% | 771.73 | 708.6716 | 678.4493
9 | Total L.T. Excluding Agricultural | Paise / kwh | 624.6442 | 660.2602 | 622.3702 | 624.9404 | 0.3654% | 5.652% | 624.6442 | 660.2602 | 622.3702
10 | Agricultural | Paise / kwh | 226.0749 | 291.1794 | 372.8611 | 328.2253 | -39.37% | -11.29% | 226.0749 | 291.1794 | 372.8611
11 | Total L. T. Including Agricultural | Paise / kwh | 543.3094 | 587.2031 | 590.863 | 578.8112 | -8.048% | 1.45% | 543.3094 | 587.2031 | 590.863
12 | Total H.T. + E.H.T. + L. T. | Paise / kwh | 700.261 | 669.2146 | 599.529 | 608.0366 | 16.8% | 10.06% | 700.261 | 669.2146 | 599.529

## SHEET-6
[ 6 ]
MADHYA GUJARAT VIJ COMPANY LIMITED
III - SALES AND REVENUE DATA
SALES REVENUE FIXED AND ENERGY CHARGE PAISE / UNIT AND UNITS SOLD PER CONSUMER
|  |  | Current Year |  | Previous Year |  | % Change
|  |  | Quarterly | Cummulative | Quarterly | Cummulative | Quarterly | Cummulative
[A] | SALES REALISATION - FIXED CHARGES |  | July-2022 to Sept-2022 |  | July-2021 to Sept-2021
1 | H. T. | Paise / KWH | 92.4261 | 92.8007 | 89.0702 | 90.646 | 3.768% | 2.377%
2 | Railway | Paise / KWH | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
3 | Liecence | Paise / KWH | 0 | 0 | 0 | 0 | 0% | 0%
4 | Total H.T. + E.H.T. | Paise / KWH | 92.4261 | 92.8007 | 89.0702 | 90.646 | 3.768% | 2.377%
5 | Residential | Paise / KWH | 15.3468 | 16.7308 | 15.6733 | 16.6994 | -2.083% | 0.1882%
6 | Commercial | Paise / KWH | 76.6049 | 77.2437 | 79.6011 | 81.3394 | -3.764% | -5.035%
7 | Industrial | Paise / KWH
8 | Other [Specify] | Paise / KWH | 3.4692 | 3.4654 | 3.6066 | 3.5333 | -3.809% | -1.922%
9 | Total L.T. Excluding Agricultural | Paise / KWH | 35.4731 | 37.3661 | 35.9696 | 37.5287 | -1.38% | -0.4333%
10 | Agricultural | Paise / KWH | 56.3439 | 35.3737 | 52.9172 | 36.0854 | 6.476% | -1.972%
11 | Total L. T. Including Agricultural | Paise / KWH | 37.2436 | 37.094 | 37.5266 | 37.3354 | -0.7541% | -0.6467%
12 | Total H.T. + E.H.T. + L. T. | Paise / KWH | 65.0333 | 64.9482 | 63.2683 | 63.6925 | 2.79% | 1.971%
[B] | SALES REALISATION - ENERGY CHARGES
1 | H. T. | Paise / KWH | 417.7629 | 417.8496 | 417.7581 | 417.7667 | 0.001133% | 0.01984%
2 | Railway | Paise / KWH | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
3 | Liecence | Paise / KWH | 0 | 0 | 0 | 0 | 0% | 0%
4 | Total H.T. + E.H.T. | Paise / KWH | 417.7629 | 417.8496 | 417.7581 | 417.7667 | 0.001133% | 0.01984%
5 | Residential | Paise / KWH | 367.0557 | 364.6234 | 371.7497 | 371.0397 | -1.263% | -1.729%
6 | Commercial | Paise / KWH | 465.5617 | 463.1321 | 468.6923 | 471.2176 | -0.6679% | -1.716%
7 | Industrial | Paise / KWH |  | #DIV/0! |  | #DIV/0!
8 | Other [Specify] | Paise / KWH | 342.6716 | 338.0482 | 335.961 | 347.2224 | 1.997% | -2.642%
9 | Total L.T. Excluding Agricultural | Paise / KWH | 399.1623 | 397.959 | 401.6879 | 403.1453 | -0.6288% | -1.286%
10 | Agricultural (Incl. Tariff Comp.) | Paise / KWH | 86.9052 | 83.079 | 82.8241 | 84.1882 | 4.927% | -1.318%
11 | Total L. T. Including Agricultural | Paise / KWH | 372.6733 | 354.9553 | 372.3942 | 360.4397 | 0.07494% | -1.522%
| Total H.T. + E.H.T. + L. T. | Paise / KWH | 395.3802 | 386.4033 | 395.0497 | 388.7825 | 0.08366% | -0.612%
[C] | UNIT SOLD PER CONSUMER
1 | H. T. | KWH | 502044.9275 | 998481.1594 | 573993.8033 | 956264.1363 | -12.53% | 4.415%
2 | Railway | KWH | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
3 | Liecence | KWH | 0 | 0 | 0 | 0 | 0% | 0%
4 | Total H.T. + E.H.T. | KWH | 502044.9275 | 998481.1594 | 573993.8033 | 956264.1363 | -12.53% | 4.415%
5 | Residential | KWH | 294.8191 | 636.8753 | 297.8397 | 619.4835 | -1.014% | 2.807%
6 | Commercial | KWH | 1252.8043 | 2718.0977 | 1246.009 | 2474.8591 | 0.5454% | 9.828%
7 | Industrial | KWH
8 | Other [Specify] | KWH | 3590.7493 | 7488.1095 | 3280.8043 | 7406.2427 | 9.447% | 1.105%
9 | Total L.T. Excluding Agricultural | KWH | 439.1883 | 947.9682 | 436.3655 | 898.1957 | 0.6469% | 5.541%
10 | Agricultural | KWH | 1780.0788 | 3698.4716 | 1023.4429 | 2683.2133 | 73.93% | 37.84%
11 | Total L. T. Including Agricultural | KWH | 518.9625 | 1111.6051 | 470.4425 | 1001.8072 | 10.31% | 10.96%
| Total H.T. + E.H.T. + L. T. | KWH | 920.0078 | 1909.1516 | 907.6855 | 1730.0807 | 1.358% | 10.35%
3.8
4.25
4.55
4.6

## SHEET-7
[7]
MADHYA GUJARAT VIJ COMPANY LIMITED
IV - FINANCIAL DATA
|  | Current Year [Provisional] | Previous Year | % Change
|  | April to Sept-22 | April to Sept-21
[A] | REVENUE | Rs. In Crores | Rs. In Crores
1 | Sale of Electricity | 4472.97 | 3562.71 | 25.55%
2 | Misc. Revenue Recovery | 53.68 | 105.49 | -49.11%
3 | Government Subsidy FOR AG. | 34.39 | 42.42 | -18.93%
4 | Other Income | 143.91 | 73.13 | 96.79%
5 | Total Income | 4704.95 | 3783.75 | 24.35%
[B] | EXPENSES
Operating Expenses
1 | Power Purchase Costs net of trading Credit | 4292.05 | 3243.51 | 32.33%
2 | Fixed
3 | Variable
4 | Fuel Expense |  |  | 0%
5 | Employee Cost | 291.8 | 263.1 | 10.91%
6 | Repairs and Maintenance | 40.86 | 40.64 | 0.5413%
7 | Administrative and General Expenses | 46.94 | 42.19 | 11.26%
8 | Other Operating Costs | 26.3 | 12.28 | 114.2%
9 | Depreciation | 134.76 | 142.73 | -5.584%
10 | Interest | 24.28 | 27.25 | -10.9%
11 | Other Expenses [Prior Period] | 0 | 0 | #DIV/0!
12 | Misc. If any | 0 | 0 | 0%
13 | Less : Expenses Capitalized | 0 | -20.11
14 | Total Expenses 1 to 13] | 4856.99 | 3751.59 | 29.46%
[C] | Surplus [deficit] excluding rate of return | -152.04 | 32.16 | -572.8%
NOTE : Power Purchase Cost is based on provisional bills received from GUVNL.

## Meter tesing & defectiveQ2
MGVCL
V - DISTRIBUTION - KEY DATA | [6 empty] | FY 2022-23 Q-II (Jul to Sep-22)
Meter testing and details of non-working defective meters
(A) | Meter testing |  | Total capacity of laboratory | Tested during the period |  | Pending for testing at the end of the period
| Single Phase | No. |  | 69860 |  | 124928
| Three Phase | No. |  | 8805 |  | 16521
| Total | No. |  | 78665 |  | 141449
(B) | Non-working/ Defective meters |  | Defected - op.balance | Added | Total to be attended | Replaced / repaired | Pending at the end of the period
| Single Phase | No. | 6469 | 26933 | 33402 | 26150 | 7252
| Three Phase | No. | 1620 | 3411 | 5031 | 4421 | 610
| Total | No. | 8089 | 30344 | 38433 | 30571 | 7862
Since the nos. of pending untested meters are normally quite high, action being taken by DISCOMs to increase the nos. of test benches at various locations so that almost nil outstanding balance should accrue.

## 2022-23-Q2
MGVCL - V - DISTRIBUTION - KEY DATA
Dist losses in Urban>25%, Industrial>10% and GIDC>5% feeders
Category | Circle | Q-II-Jul to Sep-22 |  |  | Q-II-Jul to Sep-21 |  |  | Nos of feeders having more than 5% where losses increased in current period | Reason thereof and action being taken
|  | Total nos. of feeders | Nos. of feeders having losses more than 5% | Overall % losses | Total nos. of feeders | Nos. of feeders having losses more than 5% | Overall % losses
GIDC | Baroda OM | 37 | 0 | 1.9114 | 33 | 4 | 2.3964 | 0 | Various steps are being taken to reduce the losses of feeder having high losses
| Baroda City | 16 | 0 | 2.3166 | 16 | 0 | 2.3207 | 0
| Anand | 17 | 0 | -1.2948 | 17 | 0 | 0.52792 | 0
| Nadiad | 1 | 0 | 2.0869 | 1 | 0 | 2.2171 | 0
| Godhra | 17 | 0 | 1.8636 | 16 | 0 | -0.53445 | 0
| Total | 88 | 0 | 1.59 | 83 | 4 | 1.5362 | 0
Category | Circle | Q-II-Jul to Sep-22 |  |  | Q-II-Jul to Sep-21 |  |  | Nos of feeders having more than 25% where losses increased in current period | Reason thereof and action being taken
|  | Total nos. of feeders | Nos. of feeders having losses more than 25% | Overall % losses | Total nos. of feeders | Nos. of feeders having losses more than 25% | Overall % losses
URBAN | Baroda OM | 19 | 0 | 7.1605 | 19 | 0 | 6.6015 | 0 | Various steps are being taken to reduce the losses of feeder having high losses
| Baroda City | 270 | 2* | 6.2444 | 258 | 0 | 6.168 | 0
| Anand | 48 | 1* | 6.4549 | 47 | 0 | 7.193 | 0
| Nadiad | 42 | 1 | 9.2382 | 38 | 2 | 11.1517 | 0
| Godhra | 48 | 9+1* | 20.9326 | 46 | 8 | 16.0529 | 3
| Total | 427 | 10+4*=14 | 8.5992 | 408 | 10 | 8.1227 | 3
* Newly created feeders
Category | Circle | Q-II-Jul to Sep-22 |  |  | Q-II-Jul to Sep-21 |  |  | Nos of feeders having more than 10% where losses increased in current period | Reason thereof and action being taken
|  | Total nos. of feeders | Nos. of feeders having losses more than 10% | Overall % losses | Total nos. of feeders | Nos. of feeders having losses more than 10% | Overall % losses
IND | Baroda OM | 58 | 1 | 2.3541 | 55 | 0 | 2.6068 | 1 | Various steps are being taken to reduce the losses of feeder having high losses
| Baroda City | 3 | 0 | -1.0849 | 3 | 0 | -1.0346 | 0
| Anand | 6 | 0 | 1.9567 | 5 | 0 | 3.769 | 0
| Nadiad | 13 | 1* | 1.2137 | 12 | 0 | 2.7882 | 0
| Godhra | 43 | 0 | 2.5862 | 40 | 0 | 0.16577 | 0
| Total | 123 | 1+1*=2 | 2.3026 | 115 | 0 | 1.8761 | 1
* Newly created feeders

## Sheet1 (hidden)
SR | CATEGORY | BOARD CHARGE | B. CHG(THEFT) | MIN CHG DIS. | ELE. DUTY | TAX ON SALE | RENT | SUNDRY CHG. | D. P. C. | ASSESSMENT
=========================================================================================================================================
1 | Residential | 3116069269.41 | 17043896.82 | 172650.77 | 343600985.28 | 0 | 73554896.5 | 227109.15 | 18633312.23 | 3569302120.16
2 | General Lighting Purpose | 71089139.95 | 101753.87 | 17040 | 7364652.47 | 0 | 748929.5 | 23532.4 | 453786.14 | 79798834.33
3 | Manufacturing & Service Industries | 2127392756.08 | 10987310.15 | 55383.85 | 335242088.61 | 0 | 15904544 | 285434.14 | 5771228.14 | 2495638744.97
| TEMP | 78023457.16 | 0 | 0 | 19271785.38 | 0 | 469841 | 303675.78 | 245968.69 | 98314728.01
| TOTAL | 2205416213.24 | 10987310.15 | 55383.85 | 354513873.99 | 0 | 16374385 | 589109.92 | 6017196.83 | 2593953472.98
4 | Water Works | 229130849.12 | 7024.2 | 360 | 3568735.55 | 0 | 1043824 | 84685 | 38964479.62 | 272799957.49
5 | Agricultural | 224828301.09 | 1100948.82 | 69162.01 | 32851.34 | 0 | 6727882.5 | 96521.78 | 1507359.23 | 234363026.77
6 | Street Light | 93088768.86 | 0 | 0 | 833815.28 | 0 | 302109.5 | 89765.18 | 4559629.57 | 98874088.39
7 | PDC | 2188369.91 | 52177.62 | 0 | 239472.02 | 0 | 183965.5 | 10954.81 | 1881544.86 | 4556484.72
8 | UNCONNECTED | 1346751.03 | 29611.2 | 0 | 0 | 0 | 0 | 0 | 12750.19 | 1389112.42
9 | NON-CONS | 0 | 3642101.75 | 0 | 384932.08 | 0 | 0 | 46327.9 | 55.4 | 4073417.13
10 | TOT(NORMAL) | 5861599084.51 | 29240933.86 | 314596.63 | 690643128.53 | 0 | 98282186 | 807047.65 | 69889794.93 | 6750776772.11
11 | TOT(PCD+UC) | 3535120.94 | 81788.82 | 0 | 239472.02 | 0 | 183965.5 | 10954.81 | 1894295.05 | 5945597.14
12 | TOT(TEMP+NON) | 78023457.16 | 3642101.75 | 0 | 19656717.46 | 0 | 469841 | 350003.68 | 246024.09 | 102388145.14
13 | GRAND TOTAL | 5943157662.61 | 32964824.43 | 314596.63 | 710539318.01 | 0 | 98935992.5 | 1168006.14 | 72030114.07 | 6859110514.39
=========================================================================================================================================
BREAK-UP OF BOARD CHARGES FROM Apr-2014 TO Jun-2014
=========================================================================================================================================
SR | CATEGORY | CONSUMERS | UNITS BILLED | FIXED-CHRG | ENEG-CHRG | FUEL-COST | ANNUAL-CHG | PRO-BILL | DEBIT-ADJ | BOARD-CHG
=========================================================================================================================================
1 | Residential | 1178560 | 547896815 | 108936347.28 | 2277778320.78 | 698827103.17 | 0 | 23878038.49 | 6649459.69 | 3116069269.41
2 | General Lighting Purpose | 10324 | 12238984 | 3352066.04 | 49361466.77 | 14977587.99 | 0 | 3186689.16 | 211329.99 | 71089139.95
3 | Manufacturing & Service Industries | 141223 | 308942121 | 209816323.53 | 1506771323.96 | 383974357.43 | 243868.04 | 12422367.03 | 14164516.09 | 2127392756.08
| TEMP | 4704 | 8930434 | 26180158.88 | 41354591.56 | 10417808.65 | 0 | 0 | 70898.07 | 78023457.16
| TOTAL | 145927 | 317872555 | 235996482.41 | 1548125915.52 | 394392166.08 | 243868.04 | 12422367.03 | 14235414.16 | 2205416213.24
4 | Water Works | 8003 | 48527153 | 1355207.11 | 164401308.54 | 58237665.73 | 0 | 2690678.79 | 2445988.95 | 229130849.12
5 | Agricultural | 64962 | 168792969 | 32021768.9 | 186279271.39 | 0 | 0 | 5083644.16 | 1443616.64 | 224828301.09
6 | Street Light | 4333 | 15223858 | 212629.18 | 71319701.26 | 20672610.43 | 0 | 303088.92 | 580739.07 | 93088768.86
7 | PDC | 75006 | 254352 | 0 | 0 | 0 | 0 | 0 | 2188369.91 | 2188369.91
8 | UNCONNECTED | 2231 | 0 | 1316135.13 | 5130 | 0 | 0 | 0 | 25485.9 | 1346751.03
9 | NON-CONS | 255 | 740096 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | TOT(NORMAL) | 1407405 | 1101621900 | 355694342.04 | 4255911392.7 | 1176689324.75 | 243868.04 | 47564506.55 | 25495650.43 | 5861599084.51
11 | TOT(PDC+UN) | 77237 | 254352 | 1316135.13 | 5130 | 0 | 0 | 0 | 2213855.81 | 3535120.94
12 | TOT(TEMP+NON) | 4959 | 9670530 | 26180158.88 | 41354591.56 | 10417808.65 | 0 | 0 | 70898.07 | 78023457.16
13 | GRAND TOTAL | 1489601 | 1111546782 | 383190636.05 | 4297271114.26 | 1187107133.4 | 243868.04 | 47564506.55 | 27780404.31 | 5943157662.61
=========================================================================================================================================
LT C. G. L. FROM Apr-2014 TO Jun-2014
LAST MONTH END DATE : 30-06-2014 |  |  |  | PERIOD: Apr-2014 TO Jun-2014 |  |  |  | PROCESSED ON: 18-Dec-2014
COM: 2 MGVCL |  | CIR: All |  |  | DIV: All |  |  | SUB: All
=========================================================================================================================================
SR | CATEGORY | CONSUMERS | UNITS BILLED | OPEN. BAL | ASSESSMENT | COLLECTIONS | CREDIT- ADJ | TANS-FROM | TANS-TO | CL. BALANCE
=========================================================================================================================================
1 | Residential | 2384733 | 547896815 | 471836346.87 | 3569302120.16 | 2878352034.87 | 472789935.75 | -16439782.75 | 0 | 673556713.66
2 | General Lighting Purpose | 19847 | 12238984 | 3230329.29 | 79798834.33 | 58956568.95 | 15631265.26 | -114228.36 | 0 | 8327101.05
3 | Manufacturing & Service Industries | 260627 | 308942121 | -156257486.14 | 2495638744.97 | 2019579574.79 | 371874649.1 | -2477774.76 | 0 | -54550739.82
| TEMP | 6576 | 8930434 | 23443054.57 | 98314728.01 | 91619956.28 | 4758739.3 | 0 | 0 | 25379087
| TOTAL | 267203 | 317872555 | -132814431.57 | 2593953472.98 | 2111199531.07 | 376633388.4 | -2477774.76 | 0 | -29171652.82
4 | Water Works | 13492 | 48527153 | 979163001.66 | 272799957.49 | 78442734.34 | 152753672.34 | 200807.96 | 0 | 1020967360.43
5 | Agricultural | 99192 | 168792969 | -22582241.07 | 234363026.77 | 168649386.06 | 27290415.55 | -796393.56 | 0 | 15044590.53
6 | Street Light | 6456 | 15223858 | 113139182.74 | 98874088.39 | 71694102.21 | 16941795.59 | -146960.23 | 0 | 123230413.1
7 | PDC | 135936 | 254352 | 282473331.19 | 4556484.72 | 9439530.5 | 2520494.13 | 19784981.78 | 0 | 294854773.06
8 | UNCONNECTED | 4324 | 0 | 1332331.42 | 1389112.42 | 567985.44 | 568145.06 | -10650.08 | 0 | 1574663.26
9 | NON-CONS | 2216 | 740096 | 53130210.41 | 4073417.13 | 3613576.49 | -29470.62 | 0 | 0 | 53619521.67
10 | UNPOSTED | 0 | 0 | -747024.08 | 0 | 806193.65 | -910101.61 | 0 | 0 | -643116.12
11 | TOT(NOR+UNPOST) | 2784347 | 1101621900 | 1387782109.27 | 6750776772.11 | 5276480594.87 | 1056371631.98 | -19774331.7 | 0 | 1785932322.83
12 | TOT(PDC+UN) | 140260 | 254352 | 283805662.61 | 5945597.14 | 10007515.94 | 3088639.19 | 19774331.7 | 0 | 296429436.32
13 | TOT(TEMP+NON) | 8792 | 9670530 | 76573264.98 | 102388145.14 | 95233532.77 | 4729268.68 | 0 | 0 | 78998608.67
14 | GRAND TOTAL | 2933399 | 1111546782 | 1748161036.86 | 6859110514.39 | 5381721643.58 | 1064189539.85 | 0 | 0 | 2161360367.82
=========================================================================================================================================
CREDIT ADJUSTMENT ( LT ) FOR : Apr-2014 TO Jun-2014
=========================================================================================================================================
SR | CATEGORY | UNPOSTED | CREDIT ADJ. | NON-CASH | PAY-FROM | PROVISIONAL | <----- | RELIEF | ----->
|  | RCPT-CLEARED | ( BC ) | ADJ. | OTHER-OFFICE | BILLING | BOARD-CHG | ELE-DUTY | ANGAN/AMNST | TOTAL
=========================================================================================================================================
1 | Residential | 676896.21 | 396889374.73 | 52620828.58 | -11156.78 | 22613993.01 | 0 | 0 | 0 | 472789935.75
2 | General Lighting Purpose | 510 | 3998473.44 | 2756635.8 | 0 | 1144315.07 | 7701400.08 | 0 | 29930.87 | 15631265.26
3 | Manufacturing & Service Industries | 213935.94 | 169089710.23 | 70601060.4 | 120635842.39 | 11334100.14 | 0 | 0 | 0 | 371874649.1
| TEMP |  | 1889298.78 | 2864053.84 | 5386.68 |  |  |  |  | 4758739.3
| TOTAL | 213935.94 | 170979009.01 | 73465114.24 | 120641229.07 | 11334100.14 | 0 | 0 | 0 | 376633388.4
4 | Water Works | 0 | 11034658.88 | 4158318.73 | 4259002.55 | 2660400.8 | 130641291.38 | 0 | 0 | 152753672.34
5 | Agricultural | 3944 | 7038904.74 | 16782524.28 | 0 | 3465042.53 | 0 | 0 | 0 | 27290415.55
6 | Street Light | 14815.46 | 14875892.95 | 1945850.05 | -36525.76 | 141762.89 | 0 | 0 | 0 | 16941795.59
7 | PDC | 0 | 1409218.22 | 1097712.62 | 1805.77 | 0 | 658.4 | 0 | 11099.12 | 2520494.13
8 | UNCONNECTED | 0 | 1704.02 | 549022.04 | 17419 | 0 | 0 | 0 | 0 | 568145.06
9 | NON-CONS |  | 4579.8 | -34050.42 | 0 |  |  |  |  | -29470.62
10 | UNPOSTED | -910101.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -910101.61
11 | TOT(NORMAL) | 0 | 602927014.97 | 148865217.84 | 124847162.4 | 41359614.44 | 138342691.46 | 0 | 29930.87 | 1056371631.98
12 | TOT(PDC+UN) | 0 | 1410922.24 | 1646734.66 | 19224.77 | 0 | 658.4 | 0 | 11099.12 | 3088639.19
13 | TOT(TEMP+NON) | 0 | 1893878.58 | 2830003.42 | 5386.68 | 0 | 0 | 0 | 0 | 4729268.68
14 | GRAND TOTAL | 0 | 606231815.79 | 153341955.92 | 124871773.85 | 41359614.44 | 138343349.86 | 0 | 41029.99 | 1064189539.85
=========================================================================================================================================
BREAK-UP OF BOARD CHARGES
---------------------------------------------------------------------------------------------------------------------------------------------------------
| SR. | Category | Demand Charges | Energy-Charges. | Time-Charges. | Fuel-Surcharge | Annual./SFM Charges. | PF-Charges | Debit-Adj | PF-Rebate | Ehv-Rebate
---------------------------------------------------------------------------------------------------------------------------------------------------------
| 1 | HT INDUSTRY | 692603720.39 | 4495794941.05 | 228089997.05 | 1203211432.42 | 0 | 6730906.59 | 53726118.04 | -63618893.59 | -11142206.23
| 2 | TRACTION RL | 46307680 | 454218764.3 | 0 | 109229986.54 | 0 | 0 | 0 | -7437025.4 | -4542187.64
| 3 | AGRICULTURE | 469560 | 490835.9 | 0 | 0 | 0 | 37123.88 | 0 | -2045.39 | 0
| 4 | LICENSEES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | OTHERS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 6 | INTER-STATE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7 | DADRA NAGAR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8 | P.D.C | 0 | 0 | 0 | 0 | 0 | 0 | 186372.62 | 0 | 0
| 9 | UNCONNECTED | 9967895.74 | 0 | 0 | 0 | 0 | 0 | 200288 | 0 | 0
| 10 | WATER WORKS | 1710700 | 12852778 | 380456.65 | 3556151.92 | 0 | 384611.36 | 0 | -84009.48 | 0
---------------------------------------------------------------------------------------------------------------------------------------------------------
| Grand Total |  | 751059556.13 | 4963357319.25 | 228470453.7 | 1315997570.88 | 0 | 7152641.83 | 54112778.66 | -71141973.86 | -15684393.87
---------------------------------------------------------------------------------------------------------------------------------------------------------