## RIKITA-May 16 (hidden)
Details of accident occurred during the period from 01.04.16 to 30.04.16 in MGVCL
Sr. No. | DISCOM | Circle | Division | Sub Division | District | Taluka | Name of Vill. / Town | Date & Time of accident | Type of Accident (Electrical / Mechanical) | Nos. of Victims |  |  |  |  | Name of Victim OR Name of Owner in case of Animal | In case of Departmental accident |  | Cause of Accident | Observation | At private premises/ DISCOM network | Action taken against defaulter/ Supervisor/ Engineer | What Remedial Action Or Precautions were Taken To Prevent Such Accident In Future ? | At private premises/ DISCOM network | Action taken against defaulter/ Supervisor/ Engineer | What Remedial Action Or Precautions were Taken To Prevent Such Accident In Future ?
|  | 1 | 3 | [6 empty] | Dept. |  | Outsider |  | FA |  | Designation of Victim | Name of supervisor & Designation
|  | 1 | 3 |  |  |  |  | DD |  | FH | NFH | FH | NFH
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 |  | 19 | 20 | 21 | 22

## MG COVER PAGE
Name of Distribution Licensee: M G V C L
Quarter : Q-IV(OCT- NOV-DEC - 2021)
Year: 2021-22

## MG SoP 01
Name of Distribution Licensee: M G V C L
Quarter : Q-IV ( JAN.-FEB.-MAR.- 2022)
Year: 2021-22
Performa - SoP 001: Fatal and Non-fatal accident report
NUMBER OF ACCIDENTS FOR THE FOURTH QUARTER 2021-22
Sr.No | Name of Area/Circle | No of accidents in the quarter |  |  |  |  | Cumulative since the first quarter of the current FY 2021-22 |  |  | Cumulative since the first quarter of the last FY 2020-21
|  | Departmental |  | Outside |  |  | TOTAL |  |  | TOTAL
|  | FH | NFH | FH | FA | NFH | FH | FA | NFH | FH | FA | NFH
1 | Baroda City | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 1 | 2 | 1(1-Mech)
2 | Baroda (O&M) | 0 | 2 | 3 | 3 | 2 | 8 | 26 | 8 | 7 | 25 | 14(1-Pvt)
3 | Anand | 0 | 0 | 0 | 1 | 0 | 7 | 11 | 3 | 6(2-PVT) | 5 | 2
4 | Godhra | 0 | 0 | 3 (1-Pvt) | 4 | 0 | 10 (1-Pvt) | 35 | 5 (1-Pvt) | 15(3-PVT) | 30(1-PVT) | 7
5 | Nadiad | 0 | 0 | 1 | 1 | 1 | 7 | 17 | 3 | 10(2-PVT) | 10 | 7
| TOTAL | 0 | 2 | 7 (1-Pvt) | 9 | 3 | 33 (1-Pvt) | 93 | 20 (1-Pvt) | 39(7-PVT) | 72(1-PVT) | 31(1-Pvt)
[6 empty] | 21 (1-Pvt) |  |  | 146 (2-Pvt) |  |  | 142 (9-Pvt)
FH – Fatal Human, FA – Fatal Animal, NFH – Non-fatal Human
The format is to be sent quarterly
Note: Above figures for cummulative accident i.e. from April21 to Mar'22 are inclusive of 1 No. of fatal Human & 1 No of Non-Fatal Human Accident occurred in Private premises under Godhra Circle. | [9 empty] | 7 Nos. of Fatal Human accident in Pvt Premises (Anand-2,Nadiad-2 & Godhra Circle-3), 1 No of Fatal Animal accident in Pvt. Premises in Godhra circle and 1 No of Non-Fatal Human accident in BOM circle.

## MG-SOP 02
Performa – SoP 002: Action taken report for safety measures complied for the accidents occurred
ACTION TAKEN REPORT FOR SAFETY MEASURES COMPLIED FOR THE ACCIDENTS OCCURED IN THE FOURTH QUARTER OF FY 2021-22
-1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10
Sr. No | Location of Accident and details of the victim | Date of occurrence | Type of Accident | Cause of Accident | Findings of CEI / EI / AEI | Remedies suggested by CEI /EI / AEI in various cases | Whether the remedy suggested is complied | Action taken to avoid recurrence of such Accident | Circle
1 | BUFFALO OF SHRI. BHOPATBHAI VAJABHAI BARIA, Vill-MOGHADHARA-2, Tal-Ghoghamba, Dist-Panchmahal | 2021-11-12 | FA | A FATAL ANIMAL ACCIDENT OF BULLOCK OCCURRED DUE TO LEAKAGE CURRENT ON 25KVA T/C.TRANSFORMR FAILED DUE TO HT WINDINDG EARTH WITH BODY AND LEAKGE CURRENT WAS PASSSING THROUGH GI EARTHING WIRE OF PSC AT THAT TIME BUFFALO CAME AND TOUCHED WITH T/C DP AN LECTR | Awaited | NA | NA | Earthing reactivated & failed transformer replaced | Godhra
2 | Shri.Bhavsang Amarsang malek's buffalo, Vill-ATALI, Tal-Karjan, Dist-Vadodara | 2022-01-01 | FA | From the observation of the place it seems that HT line was passing atali lake. Due to heavy rain pole bent down so the wires become loose.while grazing buffalo might have came in contact with broken HT line conductor. Leakage current passed through condu | PERIODICALLY MAINTENANCE CARRIED OUT | yes | Yes | ERRECTION OF NEW POLE & RESTRINGING WORK DONE | Baroda O&M
3 | VASAVA KOMALBEN RAJESHBHAI, DP LOC NO G1-58 &G1-59, Waghodia GIDC, Tal-Waghodia, Dist-Vadodara | 2022-01-03 | NFHO | AS PER EYE WITNESS(RELATIVE OF VICTIM) STATMENT THE VITIM MISS K.R VASAVA GOT ELECTROCUTED FROM TRANSFORMER LIVE STUD PORTION WHILE PICKING ALMOND FROM THE TRANSFORMER | Awaited | NA | NA | Maintenance work carried out | Baroda O&M
4 | Shri.Hamabhai bechar Bharvad's buffalo, Vill/Tal-KARJAN, Diat-Vadodara | 2022-01-06 | FA | From the observation of the place it seems that big brach of tree fallen on HT ABC of 11KV saurer Ind FEEDER AND cable has slipped down.The victim cow was goinig to grazing near the cable and dies due to the current coming in contact with it | PERIODICALLY MAINTENANCE CARRIED OUT | yes | Yes | RESTRINGING OF LOOSE SPAN OF CABLE & TREE CUTTING WORK DONE | Baroda O&M
5 | GIR AKHLO of Narayan Vitthal Bharwad, Vill-RANIPURA, Tal-Halol, Dist-Panchmahal | 2022-01-07 | FA | AS PER SITE VISIT,IT IS FOUND THAT EXISTING STAY SET OF RSJ POLE D/O TAPPING OF CT/PT OF AG INDUSTTRIES BECOMES LOOSE AS A RESULT OF DIGGING OF LAND BY GAIL INDIA. .A BROWN GIR BULL(AKHLO) SEARCHING FOR FOOD NEAR BY ROAD SIDE INFRONTE OF A.G INDUSTRIES MAI | Awaited | NA | NA | STAY SET OF RSJ POLE RETIGHTNING, MAINTENACE WORK ON D.O DP CARRIED | Godhra
6 | Diptesh Bhailalbhai Patel, HT Pole nr.Bus Stand of Sevasi, Vill-Sevasi, Tal/Dist-Vadodara | 2022-01-14 | FHO | Victom touch the HT open condcutor from the terrace during catching the kite | Awaited | NA | NA | Notice issued FOR PROCESS OF LINE SHIFTING | Baroda O&M
7 | Cow of Mr. Virjibhai Bhikhabhai Bharvad, Front of prem prakas tower,Ankleshwar Mahadev road, Godhra, Dist-Panchmahal | 2022-01-17 | FA | Cow might have electrocuted due to pole vibration during scraching by its horn at RSJ lt pole. | Awaited | NA | NA | POLE MOUNTAIN BOX WIRING RECTIFIED | Godhra
8 | Keramsingh Bhanwaesingh Dawar, Prajapati Steel & Iron company CTPT DP, Vill-Varsola, Tal-Mahemdabad, Dist-Kheda | 2022-01-17 | NFHO | Victim climbed on CTPT DP of new HT conn. Prajapati steel & iron when he came in contact with incoming UG cable & got electroculated. | Awaited | NA | NA | SDO m'Bad is instructed to inform all line staff to discharge 11 KV UG cable before stating the work alos carry out regular safty meeting with linbe staff | Nadiad
9 | SAHIL SAMSUBHAI SAIKH, NEAR KIRAN PETHOLOGY LAB, Vil/Tal/Dist-Dahod | 2022-01-25 | FHO | TV CABLE WAS TIED BETWEEN LACK VIEW APARTMENT NEAR BY ZAVERY NURSING HOME AND SHITAL APARTMENT. ACCIDENTLY THIS TV CABLE BROKE IN BETWEEN AND FALL ON 11 KV KALYAN URBAN FEEDER. THE TEAM OF TV CABLE COMPANY TIED THE CABLE TO SIGN BOARD. THE VICTIM CAME NEAR THIS CABLE AND FOUND SOME ABNORMAL NOISE SO HE TESTED WITH LT TESTER AND HE MIGHT HAVE GOT SHOCK AND FELL ON GROUND. | Awaited | NA | NA | NOTICE ISSUED TO GENERAL MANAGER GTPL DTN PVT LTD ON DT 29-01-2022 VIDE LETTER NO 538 | Godhra
10 | OWNER OF BUFFALO SHRI SHIVABHAI RAGHUBHAI BHARVAD, RAMNAGAR , Vill-Malav, Tal-Kalol, Dist-Panchmahal | 2022-01-30 | FA | Existing 3ph 4w line passing through trees(neelgiri) farm at Ramnagar, Malav. While grassing grass, buffalo broke a neelgiri tree near LT line and due to this live wire broken & fallen on earth and buffalo came in contact in live wire and might be buffalo | Awaited | NA | NA | LINE MAINT. IS CARRIED OUT ANG GUARDING PROVIDED | Godhra
11 | DINESHBHAI BACHUBHAI MOKRIA, THERMAL CROSS ROAD, Vill-Timba na muvada, Tal-Galteshwar, Dist-Kheda | 2022-01-31 | FHO | DRIVER HAS REVERSE DIVING HEAVY VEHICLE FLY ASH CARRIER IN PARKING AREA NEAR AHMEDABAD INDORE ROAD AND BACK VESSEL TOUCH THE 11 KV LIVE WIRE OF KUNI JGY FDR AND VICTIM CONTACT WITH THE LIVE PATH AND ELECROCULATED THE PARKING AREA IS FILLED UP WITH EXTRA | Awaited | NA | NA | TO AVOID ACCIDENT DUE CARE IS TAKEN WHILE WORKING NEAR BY LINE. | Nadiad
12 | BUFFALO OF OWNER INDUBHAI NARANBHAI VANZARA, Vill-Varsada Sim, Tal/Dist-Vadodara | 2021-12-06 | FA | ON DT:-06-12-2021, OWNER AND BUFFALO WERE PASSING BELOW OPEN BARE LINE OF 11 kV CFP IND FEEDER. AT THAT TIME BUFFALO CAME IN CONTACT WITH LIVE WIRE DUE TO VERY LOW CLEARRANCE OF OPEN HT LINE FROM GROUND AND HENCE BUFFALO GOT ELECTROCUTED AND DIED | Awaited | NA | NA | Two new PSC poles were erected below 11 kV Feeder to increase clearance of 11 kV Line from ground | Baroda O&M
13 | RAHIMBHAI AHEMADBHAI PARMAR, Vill-Kherda, Tal-Karjan, Dist-Vadodara | 2022-01-31 | FHO | ACCIDENT OCCURRED ON Dt:-31.01.2022 AROUND 17:30 HRS NEAR KHERDA VILLAGE BORDER,THE DEAD PERSON NAMED RAHIMBHAI AHEMADBHAI PARMAR STANDING ON THE GROUN WAS PICKING DRUMSTICKS(SARAGVA) USING A LONG IRON ROD HOOK. THE IRON ROAD TOUCHED THE LIVE ELECTRIC WIRE AND ELECTROCUTED | Awaited | NA | NA | Maintenance work carried out | Baroda O&M
14 | Narvatbhai udesingh Pateliya, near vejalpur canal, Vill-Tarva, Tal-Waghodia, Dist-Vadodara | 2022-02-01 | FHO | while moving the pipe lines via hydro the portion of the hydro touched the 11 kv vyara ag feeder near location no wgh/vya/46/15. the accident has occured due to the lapse on the victim side. | Awaited | NA | NA | Maintenance work carried out | Baroda O&M
15 | BUFFALO OF MAHOBATBHAI MELABHAI GOHEL, VALLI INTAKEWELL, Vill-Valli, Tal-Tarapur, Dist-Anand | 2022-02-02 | FA | ON DT.02.02.2022 AT Approx 13:30 buffalo got electrocuted with staywire. The stay wire was very close to outgoing cable of 100KVA Transformer center of Valli Intakewell GWSSB at Village Valli, Ta:-Tarapur under Tarapur Sdn there was a joint in out going | Awaited | NA | NA | New stay provided. New cable provided. | Anand
16 | VIJAYBHAI NAMABHAI RATHVA, SURVEY NO 54, Vill-Pipiya, Tal-Jambughoda, Dist-PMS | 2022-02-20 | PVT-FHO | AS PER EYE WITNESS STATEMENT VICTIM WAS REPAIRING FUSE AND GOT ELECTROCUTED BY UNKNOWN PART | Awaited | NA | NO | LINE PROTECTION CKT FUSE IS PROVIDED. | Godhra
17 | MAYURBHAI MUKESHBHAI SIKLIGAR, NEAR HOTEL KATHIYAWADI, Vill-Rabdal, Tal/Dist-Dahod | 2022-02-24 | FHO | As per the information received,debris of stone and bricks were being removed from the truck(truck no GJ 09 V 5019 was parking under 11 KV BAVKA JGY FEEDER) as soil filling work was to be done on the spot.to clear debris,the truck was to be lifted with the help of hydraulics due to which it came in contact with 11KV line and person opening back of truck got electrocuted. | Awaited | NA | NA | Victim family members and owner are educated to not work under the electric line | Godhra
18 | 02 NO'S BUFFALO OF Chandubhai Mohanbhai Parmar, MAKAI TALAV,KADVO KUVO, Vill-Uttarsanda, Dist-Kheda | 2022-02-28 | FA | There is water flow for irrigation under tc structure, power supply is on in tc and buffalo is passes near by TC structure when their legs enter in water might due to leakage current In Water arrived by through GI WIRE and got electrocuted. | Awaited | NA | NA | LT line and Xmer center maintenance carried out | Nadiad
19 | MR, Hasmukhbhai Dahyabhai Vaishnav (LM), NEAR METHI PHC CENTER, Vill-Methi, Tal-Karjan, Dist-Vadodara | 2022-03-07 | NFHD | victim Climb on TC structure wearing helmet to detach the LT cable which was bound with upper portion of one of the PSC pole. After detaching cable victim lose his balance and accidently touch his right hand to the upper portion of DO unit & he fall down | Awaited | NA | NA | Safety Knowledge given | Baroda O&M
20 | NARENDRABHAI DHANABHAI LAD, ENTRY ROAD OF SHAH IND PARK 2, Vill-Manjusar, Tal-Savli, Dist-Vadodara | 2022-03-19 | NFHO | victim was passing on his bike fron entry road of shah industrial park 2, suddenly internal road cross HT wire of TCDP NTECH engineers to opposite HT pole snapped and fell on the victim. After which the victim was immideately shifted to SSG hospital. | Awaited | NA | NA | Maintenance work carried out | Baroda O&M
21 | VINODBHAI B. RATHVA (EA), KASARA SIM VISTAR, Tal/Dist-Chhotaudepur | 2022-03-29 | NFHD | shri v.b.rathva and shri k.b.bariya went to make one jumper of 11 kv ode ag feeder.11 kv D.O tapping is nearer to line unfortunatily shri v.b.rathva in over confidence ,without isolation of power supply,not short or earth of line climbed on psc pole.and got shock | Awaited | NA | NA | Safety Knowledge given | Baroda O&M
RA=Report Awaited
NA=Not Applicable
Note:
Column (2) - Location of accident: name of town or district specifying whether rural or urban. Also details fot eh victim can be given in brief
Column (3) – Date of the occurrence of the accident is to be mentioned.
Column (4) - Fatal human and Non fatal human accidents occurring in Department shall be categorized as FHD and NFHD whereas the above accidents occurring Outside the licensee's switchyard shall be categorized as FHO, NFHO and FAO
Column (5) – The Distribution Licensee’s view and findings for the cause of the Accident
Column (6) – Brief details about the findings given by Chief Electrical Inspector (CEI)
Column (7) – Remedies suggested by the CEI for the accident may be explained in brief
Column (8) & (9) – The compliance of the remedies by the Distribution Licensee and action taken to avoid such reoccurrence may be discussed in few lines justifying the in-principle cause for accident.
The format is to be sent half yearly
Half yearly reporting in the year means Reporting for the period 1st January – 31st July of the year as first six months/ first half of the year and 1st August – 31st December of the year as the second six months/second half in the year.

## MG SOP 03
Name of Distribution Licensee: M G V C L
Qtr-IV(JAN-FEB-MARCH-22)
Year: 2021-22
REGISTER FOR COMPILING THE COMPLAINTS CLASSIFICATIONWISE Q-IV 2021-22
Performa SoP 003 B: |  |  |  | APPENDIX-B (already in the SoP regulation)
Classification | Nature of Complaints | Pending complaints of previous qtr. | Complaints received during the qtr. | Total Complaints =2+3 | No. of Complaints redressed during the quarter. |  |  |  |  | Balance Complaints to be redressed. (4) – (9)
[5 empty] | In stipulated time |  | Beyond stipulated time |  | Total (5) to (8)
[5 empty] | Within 50% of stipulated time. | Within stipulated time. | Up to double the stipulated time | More than double the stipulated time
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A(i) | Loose Connection | 0 | 48889.9292 | 48889.9292 | 25619.103 | 23270.8261 | 0 | 0 | 48889.9292 | 0
A(ii) | Intruption due to line Break down | 0 | 33858.448 | 33858.448 | 21428.6793 | 12429.7687 | 0 | 0 | 33858.448 | 0
A(iii) | Intruption due to T/C Fail | 0 | 7905.9031 | 7905.9031 | 5755.2773 | 2150.6258 | 0 | 0 | 7905.9031 | 0
B(i) | Quality of power supply,ordinary case which require no Augmentation | 0 | 6898.6765 | 6898.6765 | 3973.2586 | 2925.418 | 0 | 0 | 6898.6765 | 0
B(ii) | Quality of power supply,ordinary case which require Augmentation | 0 | 3851.5066 | 3851.5066 | 2254.5297 | 1596.9769 | 0 | 0 | 3851.5066 | 0
C(i) | Meters- Stoped/Defective meter | 0 | 10990.4863 | 10990.4863 | 6441.3633 | 4549.123 | 0 | 0 | 10990.4863 | 0
C(ii) | Meters- Billing on average basis for > two bills | 0 | 5442.6211 | 5442.6211 | 3133.064 | 2309.557 | 0 | 0 | 5442.6211 | 0
D(i) | Over head lines - loose wires | 0 | 3448.5593 | 3448.5593 | 2164.3683 | 1284.191 | 0 | 0 | 3448.5593 | 0
D(ii) | Over head lines - in adiquate ground clearance | 0 | 1774.3105 | 1774.3105 | 1081.8309 | 692.4797 | 0 | 0 | 1774.3105 | 0
E(i) | Bills- for current bills where no addl information required | 0 | 4147.5801 | 4147.5801 | 2308.2301 | 1839.35 | 0 | 0 | 4147.5801 | 0
E(ii) | Bills- for current bills where addl information required | 0 | 2430.6625 | 2430.6625 | 1481.7957 | 948.8668 | 0 | 0 | 2430.6625 | 0
F(i) | Service connections- where extention of mains is not required | 0 | 5445.9668 | 5445.9668 | 3694.123 | 1751.8437 | 0 | 0 | 5445.9668 | 0
F(ii) | Service connections- where extention of mains is required | 0 | 1643.1812 | 1643.1812 | 849.8336 | 793.3477 | 0 | 0 | 1643.1812 | 0
F(iii) | Service connections- Modification in connected load | 0 | 2092.2402 | 2092.2402 | 907.3734 | 1184.8668 | 0 | 0 | 2092.2402 | 0
F(iv) | Service connections- Name change/reconnection | 0 | 2511.3691 | 2511.3691 | 1360.0777 | 1151.2914 | 0 | 0 | 2511.3691 | 0
G | Refund of amount due inregard to temp conn | 0 | 459.0586 | 459.0586 | 252.241 | 206.8176 | 0 | 0 | 459.0586 | 0
H | Others | 0 | 18523.5008 | 18523.5008 | 9190.5344 | 9332.9664 | 0 | 0 | 18523.5008 | 0
| TOTAL | 0 | 160314 | 160314 | 91895.6833 | 68418.3167 | 0 | 0 | 160314 | 0

## MG SOP 04
Name of Distribution Licensee: M G V C L
Qtr-IV
Year: 2021-22
Performa SoP 004 : Publicity carried out while displaying the contact details of consumer complaints centers
Particulars should also cover the details of consumer awareness program conducted, advertisement done through various media like TV, newspaper, radio, pamphlets & booklet distributions, Displays etc. The development of website and any medium through which public education is carried out can be included.
Sr. No | Actions or steps carried out by distribution licensee towards public awareness in the quarter | Likely number of consumers influenced
1 | RTI Officers Name is displayed at customer care centre on each office | 3418015
2 | Necessary information regarding time schedule for new connection and solving complaints is display on the board. | 3418015
3 | Contact nos. of various officers of the company for emergency contact is also displayed at customer care centre. | 3418015
4 | Displayed safety posters at various S/dn,Divisions | 4200
5 | Safety Meeting with Line Staff at various S/dn,Divisions on Every Monday (Line staff influenced) | 14000

## SOP-05
Name of Distribution Licensee: M G V C L
SOP Q-IV (JAN-FEB-MARCH-22)
Year: 2021-22
Performa – SoP 005 B: Action taken report by the Redressal Committee
Sr. No | Month | Date and Time Meeting conducted | No of complaints registered at the meeting | No. of complaints pending at the end of the meeting
1 | 1st Month of the quarter (JAN'22) | 29.01.22,11.30 am at Corporate Office | TWO | NILL
2 | 2nd Month of the quarter (FEB'22) | 25.02.22,11.30 am at Corporate Office | ONE | NILL
3 | 3rd Month of the quarter (MARCH'22) | 28.03.22,11.30 am at Corporate Office | ONE | NILL

## MG SoP 06
Name of Distribution Licensee: M G V C L
Quarter : Q-IV ( JAN.-FEB.-MARCH.- 2022)
Year: 2021-22
Performa SoP 006: Failure of Distribution Transformer
Sr. No. | Name of Circle | Nos. of existing Distribution Transformers at the start of the quarter | Nos. of Distribution Transformers added during the 4th quarter | Total number of Distribution Transformers on MARCH'22 | Total number of Distribution transformer failed during quarter IV | % failure rate of Distribution transformer
|  | A | B | C=A+B | D | H = (D)*100/C
1 | Baroda OM | 51149 | 597 | 51746 | 539 | 1.0416
2 | Baroda City | 8876 | 122 | 8998 | 15 | 0.1667
3 | Anand | 23897 | 243 | 24140 | 114 | 0.47225
4 | Nadiad | 31269 | 768 | 32037 | 239 | 0.74601
5 | Godhra | 55191 | 2519 | 57710 | 699 | 1.2112
| MGVCL | 170382 | 4249 | 174631 | 1606 | 0.91965

## MG SOP 08
Name of Distribution Licensee: M G V C L
Quarter : Q-IV ( JAN.-FEB.-MARCH.- 2022)
Year: 2021-22
Performa SoP 008: Sample Test result for Neutral Voltage
Compliance Sample Test Report for Neutral Voltage
-1 | -2 | -3 | -4 | -5 | -6
Sr. No | Category of consumers | Sample Size | Standard specified in regulation | Deviation of results from the sample test (Numbers) | % age compliance
|  | (Numbers) |  |  | (6) = (5)*100/(3)
| LT consumers | 1416 | 2% | 0 | 0
1 | Domestic | 1020 | 2% | 0 | 0
2 | Commercial | 237 | 2% | 0 | 0
3 | Industrial | 18 | 2% | 0 | 0
4 | Agricultural | 133 | 2% | 0 | 0
5 | Public water works | 8 | 2% | 0 | 0
| HT consumers | 5 | 2%
6 | HT industrial | 5 | 2% | 0 | 0

## MG SOP 09
Name of Distribution Licensee: M G V C L
Quarter : Q-IV ( JAN.-FEB.-MARCH.- 2022)
Year: 2021-22
Performa SoP 009: Sample Test result for Voltage variations
Compliance Sample Test Report for voltage variations
-1 | -2 | -3 | -4 | -5
Voltage Level | Sample Size (numbers) | Limit or prescribed standard | Deviation of results from the sample test (Numbers) | % age compliance
(5) = (4)*100/(2)
Low Voltage | 18 | +6% to -6% | 0 | 0
High Voltage | 3 | +6% to -9% | 0 | 0
Extra High Voltage | 1 | +10% to -12.50% | 0 | 0

## MG SOP 10
Name of Distribution Licensee: M G V C L
Quarter : Q-IV ( JAN.-FEB.-MARCH.- 2022)
Year: 2021-22
Performa SoP 010: Sample Test result for Harmonics
Compliance Sample Test Report for Harmonics
-1 | -2 | -3 | -4 | -5 | -6
Sr. No | Category of consumers | Sample size (Numbers) | Limit or standard prescribed | Deviation of results from the sample test (Numbers) | %age compliance
(6) = (5)*100/(3)
1 | LT consumers | 34 | 3.5% | 0 | 0
2 | HT consumers | 4 | 3% | 0 | 0
3 | EHT consumers | 1 | 3% | 0 | 0
Note: The licensee shall also submit along with the above harmonic data, the records of customer wise drawls of harmonic currents measured at various strategic points.

## MG-SOP11A
JAN-FEB-MARCH-22
Year: 2021-22
SoP 011 –A: System Average Interruption Frequency Index (SAIFI)
Sr. No | Month | Ni - Total no of customers for each momentary interruptions | NT - Total no of customers served |  |  | Past year corresponding Month
1 | 2 | 3 | 4 | 5 | 6=5/4
1 | Jan' 22 | 3266764 | 3395208 | 11873979 | 3.4973 | 3.0677
2 | Feb' 22 | 3125537 | 3412649 | 7499739 | 2.1976 | 2.1556
3 | Mar' 22 | 3102122 | 3418015 | 7551772 | 2.2094 | 2.1856
|  |  | 10225872 | 26925490 | 2.6331 | 2.4712

## MG-SOP11B
JAN-FEB-MARCH-22
Year: 2021-22
SoP 011 – B System Average Interruption Duration Index (SAIDI)
Sr. No | Month | ri = Restoration Time for each interruption event | Ni - no of interrupted customers for each sustained interruption event | ri * Ni – Total customer interruption Duration | ri=Restoration Time for each interruption event | Ni= No of Interrupted customers for each sustained Interruption | NT - Total no of customers served | Customer Interruption Duration |  |  | Past year corresponding Months
[9 empty] | MINS. | HRS.
1 | 2 | 3 | 4 | 5= 3 X 4 | 3 | 4 | 5 | 6 | 7=4/3 | 7A | MINS. | HRS.
1 | Jan' 22 | July |  |  | 689401 | 3266764 | 3395208 | 946586374 | 278.8007 | 0.19375 | 283 | 0.19653
2 | Feb' 22 | August |  |  | 561082 | 3125537 | 3412649 | 782405177 | 229.2662 | 0.15903 | 222 | 0.15417
3 | Mar'22 |  |  |  | 459031 | 3102122 | 3418015 | 570529967 | 166.9185 | 0.11597 | 148 | 0.10278
[6 empty] | 9494423 | 10225872 | 2299521518 | 224.8729 | 0.15556 | 217 | 0.15069

## MG-SOP-11C
JAN-FEB-MARCH-22
Year: 2021-22
SoP 011 – C: Momentary Average Interruption Frequency Index (MAIFI)
Sr. No | Month | Number of Momentary interruptions Imi | Nmi - Total no of customers for each momentary interruptions | NT - Total no of customers served |  |  | Past year corresponding Month
1 | 2 | 3 | 4 | 5 | 6 | 7
1 | Jan' 22 | 18499 | 3142366 | 3395208 | 36652400 | 10.7953 | 10.3
2 | Feb' 22 | 13922 | 2825994 | 3412649 | 22648695 | 6.6367 | 7.13
3 | Mar'22 | 17790 | 2919786 | 3418015 | 29853657 | 8.7342 | 8.76
|  |  |  | 10225872 | 89154752 | 8.7185 | 8.74

## MG SoP - 13
Name of Distribution Licensee: M G V C L
Financial Year: 2021-22
Quarter IV(JAN-FEB-MARCH-22)
Performa SoP 013: Faulty Meters Replacement
Consumer Category | No. of faulty meters at the start of the quarter | No. of faulty meters added during the quarter | Total no. of defective / faulty Meter | No. of faulty Meters repaired and replaced | No of faulty meters pending at the end of the quarter | Remark
| 1 | 2 | (3)=(2)+(1) | 4 | (5)=(3)-(4)
1 PHASE
MGVCL | 13075 | 20667 | 33742 | 24615 | 9127
3 PHASE
MGVCL | 1626 | 3598 | 5224 | 3277 | 1947

## SoP_15(Modified)
Performa SoP 015: Release of New Connection status
Name of Area/Circle | Consumer category | Total no. of consumers connected at the beginning of half-year/year | Pending at the Beginning of the of the Half year/year | New Applications received during the half-year / year | No. of connections released during the half-year / year | No. of applications pending at the end of half-year / year | Total no. of consumers connected at the end of half-year/year
1st Half | Domestic | 2724603 | 823 | 34517 | 29451 | 1084 | 2754054
| Commercial | 382044 | 354 | 8553 | 6564 | 449 | 388608
| Industrial LT | 10403 | 56 | 900 | 748 | 133 | 11151
| Agriculture (Total) | 172509 | 12473 | 3849 | 3410 | 12905 | 175919
| Industrial HT | 2533 | 63 | 101 | 115 | 49 | 2648
| Total | 3292092 | 13769 | 47920 | 40288 | 14620 | 3332380
2nd Half | Domestic | 2754054 | 1084 | 34148 | 30558 | 1052 | 2784612
| Commercial | 388608 | 449 | 8820 | 7890 | 367 | 396498
| Industrial LT | 11151 | 133 | 1106 | 888 | 161 | 12039
| Agriculture (Total) | 175919 | 12905 | 4762 | 4923 | 10533 | 180842
| Industrial HT | 2648 | 49 | 135 | 93 | 58 | 2699
| Total | 3332380 | 14620 | 48971 | 44352 | 12171 | 3376690

## MG SoP 16
Name of Distribution Licensee: M G V C L
Quarter : Q-IV ( JAN.-FEB.-MARCH.- 2022)
Year: 2021-22
Performa SoP 016: Compensation details
COMPENSATION DETAILS
Sr.No. | Event | Compensation | No of cases where compensation was given (in numbers) | Amt of compensation paid (in Rs.)
1 | Duty to provide supply | Rs. 50 per day of delay from the limit specified in the performance regulations | 0 | 0
| a) New Connection |  | 0 | 0
| b) Additional Load |  | 0 | 0
| c) Temporary supply |  | 0 | 0
| d) Shifting service connection |  | 0 | 0
| e)Transfer of service connection |  | 0 | 0
| f) Change in tariff category of consumer |  | 0 | 0
2 | Complaints in billing | Rs. 50 for non reply within the period prescribed in Regulations | 0 | 0
3 | Replacement of meters | LT- Rs. 25 per day of delay - maximum Rs.2,500 and HT - Rs. 250 per day of delay - maximum of Rs.5,000 | 0 | 0
4 | Interruption of supply | LT- Rs. 25 for every 6 hrs of delay- maximum of Rs. 500 and HT- Rs. 50 for every 6 hrs delay- maximum Rs. 1000/- | 0 | 0
5 | Voltage fluctuations and complaints | Rs. 50 for failure to visit or convey findings within the stipulated period | 0 | 0
6 | Responding to consumer's complaints | Rs. 25 for each day of delay- maximum Rs. 500 | 0 | 0
7 | Grievance Handling | Rs.25 for failure in handling grievance | 0 | 0
TOTAL |  |  | 0 | 0